{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["マスク管理表"],"not_rendered":{"charts":0,"images":8,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"マスク管理表","index":0,"n_rows":28,"n_cols":11,"rows_kept":28,"cut":false,"hidden":false,"merged":[[0,1,0,10],[3,6,8,10],[3,1,3,5],[6,1,6,5],[5,1,5,5],[4,1,4,5],[7,1,7,5],[2,6,2,10]]}
[null,"防護係数の測定記録"]
[]
[null,"測定日時　　　　　　　　　年　　　　　　月　　　　　　日　　　　　　：",null,null,null,null,"当社製品の労研式マスクフィッティングテスター　MT-03型を\n　使用した場合の防護係数の求め方（JIS T 8150：2006による）"]
[null,"保存期限※ 　　　　　 　　年　　　　　　月　　　　　　日",null,null,null,null,"　(1) 呼吸用保護具を着用後、MT-03型のサンプリングチューブを装着\n\n　(2) 測定の実施（①～⑤の動作を各1分間ずつ行う）\n\n　(3) 平均漏れ率（％）を算出\n\n　　　　平均漏れ率（％） = （①+②+③+④+⑤）／5\n\n　(4) 防護係数を算出\n\n　　　　防護係数（PF） = 100／（平均漏れ率（％））"]
[null,"測定場所　　　"]
[null,"部署名　　　　 "]
[null,"管理責任者　 "]
[null,"その他　　　　 "]
[null,"※ﾘﾌﾗｸﾄﾘｰｾﾗﾐｯｸﾌｧｲﾊﾞｰ（RCF）の場合、保存期限は30年間です。"]
[]
[]
[null,"No.","労働者氏名","マスク種類","①普通の呼吸","②深呼吸","③顔を左右にゆっくり振る","④顔を上下にゆっくり振る","⑤話す","平均漏れ率（％）","防護係数(PF)"]
[null,1,null,null,"%","%","%","%","%",{"$f":"IFERROR(AVERAGE(E13:I13),\" %\")","v":" %"},{"$f":"IFERROR(1/J13,\"\")","v":""}]
[null,2,null,null,"%","%","%","%","%",{"$f":"IFERROR(AVERAGE(E14:I14),\" %\")","v":" %"},{"$f":"IFERROR(1/J14,\"\")","v":""}]
[null,3,null,null,"%","%","%","%","%"," %",""]
[null,4,null,null,"%","%","%","%","%"," %",""]
[null,5,null,null,"%","%","%","%","%"," %",""]
[null,6,null,null,"%","%","%","%","%"," %",""]
[null,7,null,null,"%","%","%","%","%"," %",""]
[null,8,null,null,"%","%","%","%","%"," %",""]
[null,9,null,null,"%","%","%","%","%"," %",""]
[null,10,null,null,"%","%","%","%","%"," %",""]
[null,11,null,null,"%","%","%","%","%"," %",""]
[null,12,null,null,"%","%","%","%","%"," %",""]
[null,13,null,null,"%","%","%","%","%"," %",""]
[null,14,null,null,"%","%","%","%","%"," %",{"$f":"IFERROR(1/J26,\"\")","v":""}]
[null,15,null,null,"%","%","%","%","%",{"$f":"IFERROR(AVERAGE(E27:I27),\" %\")","v":" %"},{"$f":"IFERROR(1/J27,\"\")","v":""}]
[null,null,null,null,null,null,null,null,null,null,"作成：柴田科学株式会社　営業部　マーケティング課"]